# Confocal X-Ray Fluorescence Microscopy study on plant roots

Y. Zou Finfrock(1), Shelia M. Macfie(2)

(1) Science Division, Canadian Light Source Inc., Saskatoon SK, CA

(2) Department of Biology, Western University, London, ON, Canada

Zou.Finfrock@lightsource.ca

X-ray fluorescence (XRF) is a powerful technique for elemental analysis in part owing to its minimal sample preparation requirements and sub-ppm-sensitivity. However, conventional XRF imaging generally requires thin samples, which is not always desirable or possible, e.g. for brittle samples or when non-destructive analysis is required. Non-destructive 3-D confocal XRF microscopy allows spatial discrimination of XRF photons in all three dimensions and enables high resolution x-ray spectroscopy, such as XANES, to be performed directly on a small region of interest within large samples. Polycapillaries are the most common collection optics used for a confocal XRF microscopy, but limit the technique to depth resolution of upwards of 10 µm at 10keV. The new confocal XRF microscopy capability at sector 20-ID, enabled by CHESS micro-channel arrays (CCA), [1] are capable of achieving depth resolution of 2 - 5 µm. CCAs provide both an improvement in resolution and, in addition, invariant spatial resolution with the x-ray fluorescence energy. We will present detailed current capabilities of the confocal technique at Sector 20-ID and show how we utilized the technique to understand the transport of metals in plant roots.

This research used resources of the Advanced Photon Source, an Office of Science User Facility operated for the U.S. Department of Energy (DOE) Office of Science by Argonne National Laboratory, and was supported by the U.S. DOE under Contract No. DE-AC02-06CH11357, and the Canadian Light Source and its funding partners. This research has been performed using optics provided by Cornell High Energy Synchrotron Source “CHESS”. CHESS is supported by the NSF & NIH/NIGMS via NSF award DMR-1332208. Plant samples were generated using funding from the Natural Science and Engineering Council of Canada, Grant No. 203616.

[1] David N Agyeman-Budu, Sanjukta Choudhury, Ian Coulthard, Robert  Gordon, Emil Hallin, Arthur R Woll, AIP Conf. Proc., 2016, 1764, 020004-0200011.